## Range
minimal | maximal

## RangeSI
minimal_si | maximal_si

## Series
increment | minimal | maximal

## ImageSize
height | width

## BoundingBox2D
x_min | x_max | y_min | y_max

## BoundingBox2DSI
x_min_si | x_max_si | y_min_si | y_max_si

## QuantityValue
unit | value

## QuantitySI
si_value | si_unit | unit | value

## Descriptors
descriptor_name | descriptor_thing

## Acquisition
nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detector | detector_mode | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## EnergyFilter
used | model | width_energy_filter

## SpecialistOptics
phaseplate | spherical_aberration_corrector | chromatic_aberration_corrector

## Phaseplate
used | instrument_type

## SphericalAberrationCorrector
used | instrument_type

## ChromaticAberrationCorrector
used | instrument_type

## Instrument
microscope | illumination | imaging | electron_source | acceleration_voltage | c2_aperture | cs

## SampleEnv
specimen_env | freezing | thinning | tomogram_features

## SpecimenEnv
organism | tissue | source_env | location | collection_date | handling

## Freezing
cryogen_sample_env | method | blotting | humidity_env | temperature_env | atmosphere | details

## Thinning
method_thin | instrument_thin | ion_source | target_thickness | lift_out

## TomogramFeatures
cellular_features | organelles | main_target | details_tomo

## TiltAngle
increment | minimal | maximal

## AcquisitionTomo
tilt_axis_angle | tilt_angle | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detector | detector_mode | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## Organizational
grants | authors | funder

## Person
name | first_name | work_status | email | work_phone

## Author
orcid | country | role | name_org | type_org | name | first_name | work_status | email | work_phone

## Grant
grant_name | start_date | end_date | budget | project_id | country

## Funder
funder_name | type_org | country

## EMDatasetEnv
acquisition | instrument | sample | organizational