## Sheet1
OSCEM | from XML | From MDOC | in PDBx/mmCIF | Ontology suggestions | comments
Instrument
Microscope | MicroscopeImage.microscopeData.instrument.InstrumentModel |  | _em_imaging.microscope_model
Illumination | MicroscopeImage.microscopeData.optics.IlluminationMode |  | _em_imaging.illumination_mode
Imaging | MicroscopeImage.microscopeData.optics.ColumnOperatingTemSubMode | ImagingMode | _em_imaging.mode
Electron_source | MicroscopeImage.microscopeData.gun.Sourcetype | Source | _em_imaging.electron_source | https://purls.helmholtz-metadaten.de/emg/EMG_00000045
Acceleration_Voltage | MicroscopeImage.microscopeData.gun.AccelerationVoltage | Voltage | _em_imaging.accelerating_voltage | https://purls.helmholtz-metadaten.de/emg/EMG_00000004
C2_Aperture | Aperture[C2].Name |  | _em_imaging.c2_aperture_diameter
CS |  | CS | _em_imaging.nominal_cs
Nominal_defocus
Minimal | AppliedDefocus_min | TargetDefocus_min | _em_imaging.nominal_defocus_min
Maximal | AppliedDefocus_max | TargetDefocus_max | _em_imaging.nominal_defocus_max
Calibrated_defocus
Minimal | MicroscopeImage.microscopeData.optics.Defocus_min | Defocus_min | _em_imaging.calibrated_defocus_min
Maximal | MicroscopeImage.microscopeData.optics.Defocus_max | Defocus_max | _em_imaging.calibrated_defocus_max
Nominal_magnification | MicroscopeImage.microscopeData.optics.TemMagnification.NominalMagnification | Magnification | _em_imaging.nominal_magnification
Calibrated_magnification |  |  | _em_imaging.calibrated_magnification
Holder |  |  | _em_imaging.specimen_holder_model
Holder_cryogen
Temperature |  |  | _em_imaging.temperature
Minimal |  |  | _em_imaging.recording_temperature_minimum
Maximal |  |  | _em_imaging.recording_temperature_maximum
Alignment_procedure |  |  | _em_imaging.alignment_procedure
Software | MicroscopeImage.microscopeData.core.ApplicationSoftware | Software | _em_software.category ['IMAGE ACQUISITION']
Detector | DetectorCommercialName | CameraUsed | _em_image_recording.film_or_detector_model
Detector_mode |  |  | _em_image_recording.detector_mode
Dose_per_image | DoseOnCamera_max | ExposureDose_max_max | _em_image_recording.avg_electron_dose_per_image
Energy_filter
Used | MicroscopeImage.microscopeData.optics.EnergyFilter.EnergySelectionSlitInserted | EnergyFilterUsed
Model |  |  | _em_imaging_optics.energyfilter_name
Width | MicroscopeImage.microscopeData.optics.EnergyFilter.EnergySelectionSlitWidth | EnergyFilterSlitWidth | _em_imaging_optics.energyfilter_slit_width
Image_size
Height | MicroscopeImage.microscopeData.acquisition.camera.ReadoutArea.height | ImageDimensions_Y
Width | MicroscopeImage.microscopeData.acquisition.camera.ReadoutArea.width | ImageDimensions_X
Datetime | MicroscopeImage.microscopeData.acquisition.acquisitionDateTime_start | DateTime_start | _em_imaging.date
Exposure_time | MicroscopeImage.microscopeData.acquisition.camera.ExposureTime | ExposureTime | _em_image_recording.average_exposure_time
Tilt_angle
Minimal |  | TiltAngle_min_min | _em_imaging.tilt_angle_min
Maximal |  | TiltAngle_max_max | _em_imaging.tilt_angle_max
Increment |  | Tilt_increment_max
Cryogen |  |  | _em_imaging.cryogen
Frames_per_movie |  | NumSubFrames | _em_image_scans.frames_per_image
Grids_imaged |  |  | _em_image_recording.num_grids_imaged
Images_generated | NumberOfMovies |  | _em_image_recording.num_real_images
Binning | MicroscopeImage.microscopeData.acquisition.camera.Binning.x | Binning
Pixel_size | MicroscopeImage.SpatialScale.pixelSize.x.numericValue | PixelSpacing |  |  | while there are map related pixelsizes - none of them refer to the original images, all to the reconstruction - see i.e. _em_3d_reconstruction.nominal_pixel_size
Specialist_Optics
Phaseplate
Used | PhasePlateUsed |  | _em_imaging_optics.phase_plate
Type
Spherical_Aberration_Corrector
Used |  |  | _em_imaging_optics.sph_aberration_corrector
Type
Chromatic_Aberration_Corrector
Used |  |  | _em_imaging_optics.chr_aberration_corrector
Type
Beamshift
x | MicroscopeImage.microscopeData.optics.BeamShift._x_max | Beamshift_x_max_max
y | MicroscopeImage.microscopeData.optics.BeamShift._y_max | Beamshift_y_max_max
Beamtilt
x | MicroscopeImage.microscopeData.optics.BeamTilt._x | TBI
y | MicroscopeImage.microscopeData.optics.BeamTilt._y | TBI
Image_shift |  | ImageShift
x | MicroscopeImage.microscopeData.optics.ImageShift._x | ImageShift_x_max_max
y | MicroscopeImage.microscopeData.optics.ImageShift._y | ImageShift_y_max_max
Tilt_axis_angle |  | TiltAxisAngle
Beamtiltgroups
GainRef_FlipRotate
Grant |  |  |  | https://schema.org/Grant
Grant_ID |  |  | _pdbx_audit_support.grant_number | https://schema.org/fundedItem
Funding_agency |  |  | _pdbx_audit_support.funding_organization | https://schema.org/funder
Author |  |  |  | http://purl.obolibrary.org/obo/NCIT_C42781
Name
FirstName |  |  | _pdbx_contact_author.name_first | https://schema.org/name
LastName |  |  | _pdbx_contact_author.name_last | https://schema.org/familyName
Email |  |  | _pdbx_contact_author.email | https://schema.org/email
Phone |  |  | _pdbx_contact_author.phone | http://semanticscience.org/resource/SIO_001324
ORCID |  |  | _pdbx_contact_author.identifier_ORCID | http://purl.obolibrary.org/obo/IAO_0000708
Role |  |  | _pdbx_contact_author.role | https://schema.org/jobTitle
Organization |  |  |  | https://schema.org/Organization
Name_org
Type_org |  |  | _pdbx_contact_author.organization_type
Country |  |  | _pdbx_contact_author.country | https://schema.org/Country
Sample
Overall_Molecule
Type |  |  | _entity.type
Name |  |  | _em_entity_assembly.name
Source |  |  | _entity.src_method
Molecular_weight |  |  | _entity.formula_weight
Molecules
Name |  |  | _pdbx_entity_branch_descriptor.descriptor |  | maybe better this? _pdbx_entity_branch_descriptor.type
Type |  |  | _entity_poly.type
Class |  |  | _em_entity_assembly.type
Sequence |  |  | _entity_poly.pdbx_seq_one_letter_code
Natural_source |  |  | _em_entity_assembly_naturalsource.organism
Taxonomy_ID_source |  |  | _em_entity_assembly_naturalsource.ncbi_tax_id |  | might also use this _entity_src_gen.pdbx_host_org_scientific_name
Expression_system |  |  | _em_entity_assembly_recombinant.organism |  | might also use this : _entity_src_gen.pdbx_host_org_ncbi_taxonomy_id
Taxonomy_ID_expression |  |  | _em_entity_assembly_recombinant.ncbi_tax_id
Gene_name |  |  | _entity_src_gen.pdbx_gene_src_gene
Ligands
present |  |  | _pdbx_entry_details.has_ligand_of_interest
SMILE |  |  |  |  | I know the onedep system knows this but cant find the pdbx entry
Reference |  |  |  |  | same for this one
Specimen
Buffer |  |  | _em_buffer.details
Concentration |  |  | _em_specimen.concentration
pH |  |  | _em_buffer.pH
Vitrification |  |  | _em_specimen.vitrification_applied
Vitrification_cryogen |  |  | _em_vitrification.cryogen_name
Humidity |  |  | _em_vitrification.humidity
Temperature |  |  | _em_vitrification.chamber_temperature
Staining |  |  | _em_specimen.staining_applied
Embedding |  |  | _em_specimen.embedding_applied
Shadowing |  |  | _em_specimen.shadowing_applied
Grid
Manufacturer |  |  | _em_sample_support.grid_type
Material |  |  | _em_sample_support.grid_material
Mesh |  |  | _em_sample_support.grid_mesh_size
Film_support
Film_material |  |  | _em_support_film.material
Film_topology |  |  | _em_support_film.topology
Film_thickness |  |  | _em_support_film.thickness
Pretreatment_type |  |  | _em_grid_pretreatment.type
Pretreatment_time |  |  | _em_grid_pretreatment.time
Pretreatment_pressure |  |  | _em_grid_pretreatment.pressure
Pretreatment_atmosphere |  |  | _em_grid_pretreatment.atmosphere
Sample_Wild
CollectionLocation
CollectionDetails
SamplePreparation