## Range
minimal | maximal

## Series
increment | minimal | maximal

## ImageSize
height | width

## BoundingBox2D
x_min | x_max | y_min | y_max

## QuantityValue
unit | value

## Acquisition
nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detector | detector_mode | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## EnergyFilter
used | model | width_energy_filter

## SpecialistOptics
phaseplate | spherical_aberration_corrector | chromatic_aberration_corrector

## Phaseplate
used | instrument_type

## SphericalAberrationCorrector
used | instrument_type

## ChromaticAberrationCorrector
used | instrument_type

## Instrument
microscope | illumination | imaging | electron_source | acceleration_voltage | c2_aperture | cs

## Sample
overall_molecule | molecule | ligands | specimen | grid

## OverallMolecule
molecular_type | name_sample | source | molecular_weight | assembly

## Molecule
name_mol | molecular_type | molecular_class | sequence | natural_source | taxonomy_id_source | expression_system | taxonomy_id_expression | gene_name

## Ligand
present | smiles | reference

## Specimen
buffer | concentration | ph | vitrification | vitrification_cryogen | humidity | temperature | staining | embedding | shadowing

## Grid
manufacturer | material | mesh | film_support | film_material | film_topology | film_thickness | pretreatment_type | pretreatment_time | pretreatment_pressure | pretreatment_atmosphere

## TiltAngle
increment | minimal | maximal

## AcquisitionTomo
tilt_axis_angle | tilt_angle | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detector | detector_mode | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## Organizational
grants | authors | funder

## Person
name | first_name | work_status | email | work_phone

## Author
orcid | country | role | name_org | type_org | name | first_name | work_status | email | work_phone

## Grant
grant_name | start_date | end_date | budget | project_id | country

## Funder
funder_name | type_org | country

## EMDatasetTomo
acquisition | instrument | sample | organizational